Finnish Safety and Chemicals Agency (Tukes)	            FILL-IN INSTRUCTIONS	        FORM SL 1

NOTIFICATION OF ELECTRICAL OR LIFT WORKS

The form SL 1 is used for the notification of electrical works as provided by Electrical Safety Act (1135/2016, section 55) and by Lift Safety Acti (1134/2016, sections 38 and 42). The relevant charges are stated in Tukes price-list (www.tukes.fi).

111	Please tick the alternative desired. Details of one-time electrical work shall be given in field 131.

112	Basic notification: First-time notification of activities stated in field 114. Change of company form shall be considered as a basic notification.

Amendment of entries: Please mark which fields are to be changed.

114	Details of electrical works or works on elevators. The operation rights are usually limited as defined in the supervisor's certificate of qualification.

- S1	The supervisor has class 1 electrical qualification (section 66*)

- S2	The supervisor has class 2 electrical qualification (section 67-68*)

- S3	The supervisor has class 3 electrical qualification (section 69*)

- H1	The supervisor has elevator qualification (section 46**)	The supervisor has elevator servicing qualification (section 16*)

*) Electrical Safety Act (1135/2016)
	**) Lift Safety Act (1134/2016)

Should the supervisor have a certificate issued on the basis of earlier Finnish statutes (the Electricity Act, the Electric Utilities Act), the operation rights shall be defined as provided by them.

115	The Finnish Safety and Chemicals Agency (Tukes) considers that the entrepreneur has the possibility to achieve safe results and look after the safety during the work, if the following is in the entrepreneur's possession:

– Publications included in the Safety Code Exam requirements and other publications that are necessary for carrying out the activities.

– Tools and equipment necessary for carrying out the activities, and a sufficient number of measuring instruments, such as:

- Group S contractors: multimeter, insulation resistance meter, clip-on ammeter, phase sequence indicator, measuring instruments appropriate for checking protective earthing circuits' condition, measuring instrument for testing effectiveness of residual current devices (EN 61557-6), measuring instruments for determination of short-circuit current (only for works on final circuits of buildings or more extensive works), voltage indicator.

- Group H contractor: apart from the measuring instruments listed above, a speedometer, dial gauge, and feeler gauge.

116 	The employment requirement provided by the Electrical Safety Act, section 55 and Lift Safety Act, section 40 § is regarded to be fulfilled, if the supervisor of electrical works is in an  employment relationship with the entrepreneur as prescribed for the private or the public sector. Also a company partner or director may act as the supervisor, if the person has the organisational qualification to attend to the supervisor's duties and a direct contact with the performance of the tasks.

120	The entrepreneur's official name, e.g. Oy Urakoitsija Ltd.

121	Business identity code and value added tax number (VAT number for international commerce). For private entrepreneurs: personal number.

122	Business unit carrying out contracting and appliances repair (e.g. Installations Dept.).

123	Street address (visiting address); not a post office box.

126-	If necessary and if different from postal address

131

134	Other information:

– Business domicile, if not stated in postal address.

– One-time work details: site, possessor, address, building lot, register number

– Additional information.

Appendices

The following shall be attached to the notification:

– Copy of the supervisor's certificate of qualification

– List of branch offices: names and addresses of the branch offices that work subject to the supervisor of electrical works

– Extract from the Trade Register or rules of procedure

- Extract from the Trade Register for limited companies, co-operatives or similar legal persons created when registered with the Trade Register.

- Or alternatively:

- Partnership agreement (or other charter of foundation) and a certificate issued by the National Board of Patents and Registration or the local register office on registration of the basic notification in case the company is being founded and no extract from the Trade Register is available. In this case, the extract shall be submitted later.

- Rules of procedure or similar for municipalities, municipal federations, the State or other public corporations.

- A private entrepreneur shall give the personal number (field 121) or submit an extract  from the Trade Register.

3/2025